**1.**

1. **Admin Block Passenger Lift.**

|  |  |  |  |
| --- | --- | --- | --- |
| **S. No.** | **Type** | **As per Tender** | **As per Corrigendum** |
| 16. | Car Dimensions | 1800 mm (W) x 1450mm (D) x 2200mm (H) | As per IS 14665 Pt 2 Sec I |
| 29. | Car operating panel | Half heightened in SS finish Surface mounted | SS finish Surface mounted |
| 32 (XViii) |  | Door Open and close alarm button | Door Open, close and alarm button. |
| 33. |  |  | Car landing operating button with brail operation |

1. **Animal house Passenger Lift.**

|  |  |  |  |
| --- | --- | --- | --- |
| **S. No.** | **Type** | **As per Tender** | **As per Corrigendum** |
| 16. | Car Dimensions | 1300 mm (W) x 1100mm (D) x 2200mm (H) | As per IS 14665 Pt 2 Sec I |
| 20. | Speed of travel | 1.5 m/sec | 1 m/sec |
| 29. | Car operating panel | Half heightened in SS finish Surface mounted | SS finish Surface mounted |
| 32 (XViii) |  | Door Open and close alarm button | Door Open, close and alarm button. |
| 33. |  |  | Car landing operating button with brail operation |

**2.**

**A. Price Bid of Admin Block Passenger Lift.**

|  |  |  |  |
| --- | --- | --- | --- |
| **S.No** | **Description of work** | **Amount** | **Total** |
|  | **SH I : Equipments and Associated Works Installation of new lift and accessories** |  |  |
| 1 | Cost of Supplying , installation, testing and commissioning of an Passenger Elevator Admin Block and animal housewith New Car Rail at ICGEB, New Delhi, with standard warranty as per OEM |  |  |
| 2 | Cost of Dismantling and removing of the existing lift |  |  |
| **3** | **Total (Sl no. 1+2)** |  |  |
| **4** | Buy back cost of Existing Elevator |  |  |
| **5** | **Total (Sl. No. 3 - Sl.no. 4)** |  |  |
|  | **SH II : Comprehensive Maintenance of the Elevator** |  |  |
| **6** | Comprehensive Annual Maintenance Contract (preventive & break down maintenance& charges inclusive of all types of spare parts) after completion of standard warranty as per OEM |  |  |
| a | 1st Year |  |  |
| b | 2nd Year |  |  |
| c | 3rd Year |  |  |
| d | 4th year |  |  |
| e | 5th year |  |  |
| f | 6th year |  |  |
| g | 7th year |  |  |
| h | 8th year |  |  |
| i | 9th year |  |  |
| j | 10th year |  |  |
|  | **Sub Total (a+b+c+d+e+f+g+h+i+j)** |  |  |
| 7 | **Grand Total ( Sl. No. 5+6)** |  |  |

1. **Price Bid of Animal house Passenger Lift.**

|  |  |  |  |
| --- | --- | --- | --- |
| **S.No** | **Description of work** | **Amount** | **Total** |
|  | **SH I : Equipments and Associated Works Installation of new lift and accessories** |  |  |
| 1 | Cost of Supplying , installation, testing and commissioning of an Passenger Elevator Admin Block and animal housewith New Car Rail at ICGEB, New Delhi, with standard warranty as per OEM |  |  |
| 2 | Cost of Dismantling and removing of the existing lift |  |  |
| **3** | **Total (Sl no. 1+2)** |  |  |
| **4** | Buy back cost of Existing Elevator |  |  |
| **5** | **Total (Sl. No. 3 - Sl.no. 4)** |  |  |
|  | **SH II : Comprehensive Maintenance of the Elevator** |  |  |
| **6** | Comprehensive Annual Maintenance Contract (preventive & break down maintenance& charges inclusive of all types of spare parts) after completion of standard warranty as per OEM |  |  |
| a | 1st Year |  |  |
| b | 2nd Year |  |  |
| c | 3rd Year |  |  |
| d | 4th year |  |  |
| e | 5th year |  |  |
| f | 6th year |  |  |
| g | 7th year |  |  |
| h | 8th year |  |  |
| i | 9th year |  |  |
| j | 10th year |  |  |
|  | **Sub Total (a+b+c+d+e+f+g+h+i+j)** |  |  |
| 7 | **Grand Total ( Sl. No. 5+6)** |  |  |

**Note: -**

1. L-1 will be decided for each lift individually.
2. GST should be mentioned separately.
3. Before quoting the rates, the Contractors should inspect the works at campus of ICGEB.
4. Fill the price bid in Excel format.

Authorized Signatory

Name & Address of the firm with seal

1. **Date of Extension.**

The last date for the submission of tender till 20th Oct, 2022 at 3:00 PM.